- True-Up for FY 2018-19

- As regards the increase in sales observed in Industrial HT Category, MGVCL should

  - submit the reasons for the same.

Compliance: -

Hon’ble Commission has approved HT energy sales considering 2.83 % growth rate, 5.74 % growth rate in consumers and 11.23 % growth rate on connected load for FY 2018-19 in MYT order. Whereas 10.74 % actual consumer growth and 19.67 % connected load is observed in HT category of consumers. The growth rate established is higher than growth rate considered while approving HT sales.  Further, during FY 2018-19, Open access purchase by HT consumer is reduced considerable and thereby HT consumers have purchased electricity from MGVCL. These factors have attributed for increase in HT sales.

  - Clarify why the revenue has not increased commensurately

Compliance: -

Industrial HT consumers are particularly becoming aware of various energy efficiency measures and are effectively using practices like load shifting, maintaining of ideal operational conditions, etc. This has resulted in lower revenue growth vis-à-vis sales growth.

- As regards sales to agricultural category, MGVCL should

  - submit the break-up of revenue from sales to metered agricultural category and un-metered agricultural category.

Compliance: - Break-up of Revenue from sales to Metered –Un Metered agriculture consumer as under (for FY 18-19);

- Revenue from Metered Agricultural Consumer isRs. 214.48 Crore

- Rev. From Un- Metered Agricultural Consumer is Rs. 201.01 Crore

  - Explain the increase in revenue as compared to approved revenue, though the actual sales are around 200 MU lower than the approved sales.

Compliance: -

During the FY 2017-18 MGVCL received tariff compensation & FPPPA subsidy for an amount of Rs. 162.91 Crore, while during the FY 2018-19 MGVCL has received tariff compensation & FPPPA subsidy of Rs. 317.43 Crores as shown in table below.Hence, showing increase in revenue in Agriculture category.

|  |  |  | (In Rs Crore) |
| --- | --- | --- | --- |
| Category | Subsidy | CGL Revenue | Total Revenue |
| AG Metered | 137.73 | 76.75 | 214.48 |
| AG Unmetered | 179.70 | 21.31 | 201.01 |
| Total | 317.43 | 98.05 | 415.49 |

Reason for reduction in metered Agricultural category sale is provided in next query.

  - Explain why the metered sales are lower than approved sales

Compliance: -

Two reasons attributes to lower consumption than approved are (i) Approved metered sales is based on the addition of 15640 Nos of Metered connections during FY 2018-19 however as per GOG target 10570 Nos of Agr metered connections are completed (ii) Further, favourable monsoon has also resulted in lower power consumption. Hence, the metered sales are lower than approved sales.

- MGVCL should furnish sale of energy as per monthly return under Form A specified in Rule 6 (1) (A) filed with the Chief Electrical Inspector and Collector of Electricity Duty.

Compliance: -Copy of Form A specified in Rule 6 (1)(A) is submitted in Annexure –A to this submission.

- MGVCL should submit category-wise number of consumers, connected load, contract demand and billed demand for FY 2018-19 for all categories.

Compliance: - Totalcategory-wise details have been submitted along with revenue model and in Form 10A. Break-up for each slab of given Tariff category will be submitted shortly.

- MGVCL should submit the comparison of actual Average Billing Rate (ABR) vis-à-vis the approved ABR for each category and explain the difference in ABR for each category.

Compliance: -

| Sr. No. | Particulars | Sales (MUs) |  | Revenue (Rs. Crores) |  | ABR (Rs. /Unit) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | FY 2018-19 (Approved) | FY 2018-19 (Actual) | FY 2018-19 (Approved) | FY 2018-19 (Actual) | FY 2018-19 (Approved) | FY 2018-19 (Actual) |
| 1 | RGP | 2,831 | 2,609 | 1,646.12 | 1,400.06 | 5.81 | 5.37 |
| 2 | GLP | 71 | 63 | 40.28 | 37.28 | 5.67 | 5.94 |
| 3 | Non-RGP & LTMD | 1,571 | 1,543 | 1,072.23 | 1,097.65 | 6.83 | 7.12 |
| 4 | Public Water Works | 288 | 302 | 146.06 | 156.96 | 5.07 | 5.19 |
| 5 | Agriculture – Metered | 1,070 | 857 | 260.66 | 214.48 | 2.44 | 2.50 |
| 6 | Agriculture – Unmetered | 472 | 475 | 136.95 | 201.01 | 2.90 | 4.23 |
| 7 | Public Lighting | 65 | 61 | 35.98 | 35.32 | 5.53 | 5.75 |
| 8 | Industrial HT | 3,534 | 4,094 | 2,686.14 | 2,809.23 | 7.60 | 6.86 |

- RGP- During last two years, many RGP consumers has opted for installation of Solar Roof-Top system for captive consumption, resulting in reduction of sales Further, these consumers are switching to LED bulbs energy efficient fans and tube-lights.

- Agriculture- During FY 18-19, MGVCL has received higher Subsidy amounting to Rs.154.52 Cr compared to previous financial year resulting to higher Revenue.

- HT Category- As submitted in response to query no. 1 above, consumption in industrial HT has increased, but the fixed charges remains the same. Hence, the per unit realization of fixed charges is reduced. This has reduced the ABR of HT Industrial category.

- MGVCL should submit clarification of 37 MU shown under the head ‘local power purchase by Discom’ mentioned in Table 9.

Compliance: -

In addition to power purchase from GUVNL, MGVCL has purchased 37 MUs form various renewable sources such as from Solar Wind farm, Solar Rooftop, Hydel power project, etc. Source wise segregation for the above purchase is as follows:

| Source of Power | MUs Purchased |
| --- | --- |
| Hydel | 7.902 |
| Wind Farm | 16.723 |
| Solar | 7.567 |
| Solar Roof Top | 4.999 |
| Total Power Purchased | 37.192 |

- MGVCL should submit the reasons for claiming Intra-state Transmission Loss of 3.95% (as per SLDC) whereas GETCO in its Petition has claimed Transmission loss of 3.92%.

Compliance: -

The Petitioner has computed Intra-state Transmission Loss as per data available on SLDC website. Same is submitted below for ready reference.

| Month | Energy Injected into GETCO Network (in MU) | Energy Dispatched from GETCO Network (in MU) | Energy Losses (in MU) | % Losses |
| --- | --- | --- | --- | --- |
| Mar-19 | 8937.83 | 8613.99 | 323.84 | 3.62 |
| Feb-19 | 7886.03 | 7576.31 | 309.72 | 3.93 |
| Jan-19 | 8615.7 | 8271.79 | 343.91 | 3.99 |
| Dec-18 | 8726.13 | 8372.8 | 353.33 | 4.05 |
| Nov-18 | 8309.82 | 8003.83 | 306 | 3.68 |
| Oct-18 | 10037.63 | 9623.27 | 414.36 | 4.13 |
| Sep-18 | 9131.76 | 8734.85 | 396.91 | 4.35 |
| Aug-18 | 8498.44 | 8165.13 | 333.32 | 3.92 |
| Jul-18 | 7754.05 | 7438.33 | 315.72 | 4.07 |
| Jun-18 | 8977.01 | 8571.88 | 405.13 | 4.51 |
| May-18 | 9327.94 | 8991.6 | 336.34 | 3.61 |
| Apr-18 | 8955.62 | 8641.28 | 314.34 | 3.51 |
| Total | 105157.96 | 101005.06 | 4152.92 | 47.37 |
|  | A | B |  | C=B/A |
|  | 210315.92 | 202010.12 | 8305.84 | 3.9492% |

However, GETCO computes transmission loss as per methodology approved by the Hon’ble Commission in Order No. 990 /2010. In Table 10 of Tariff Petition by GETCO for Truing up of FY 2018-19, actual transmission loss for FY 2018-19 as per SLDC and as per revised methodology approved in Order no. 990/2010 both are mentioned.

- MGVCL should submit documentary proof for claiming PGCIL system losses of 225 MU for FY 2018-19.

Compliance: -

PGCIL System losses are applicable as notified by Regional Load Dispatch Centre (WRLDC) under CERC PoC Regulations. The losses notified by WRLDC is annexed herewith as Annexure-C.

During FY 2018-19, power purchased by GUVNL through PGCIL System was 50743 MUs, wherefore system loss incurred annual is 1624.54 MUs. Accordingly, PGCIL system Losses allocated to PGVCL is 225.142 MU.

- As regards power purchase expenses, MGVCL should submit

  - source-wise power purchase per unit cost approved in MYT Order and source wise-per unit power purchase cost now claimed in Truing-up.

Compliance: -

The details of source wise power purchase statement i.e. Power purchase cost approved in the MYT Order dated 31.3.2017 and Actual power purchase cost for FY 2018-19 is annexed herewith as per Annexure-D.

  - MGVCL should provide source-wise reasoning for increase/decrease in per unit cost of power purchase with respect to the approved rates.

Compliance: -

The details of increase / decrease in the actual power purchase cost for FY 2018-19 vis-à-vis approved power purchase cost is included in Annexure-D above.

It is to state that the approved power purchase cost by Hon’ble Commission for FY 2018-19 in the order dated 31.3.2017 is based on actual power purchase cost of FY 2015-16. Moreover, in case of power stations of central Sector and GSECL, the power purchase is as per the respective order of Hon’ble CERC/GERC. Therefore increase/ decrease in power purchase cost in respect of these stations is due to change in approved parameters and increase/ decrease in landed cost of fuel. Further, rate for purchase of power from RE based projects is as per the tariff determined by Hon’ble Commission / adopted by Hon’ble Commission. In respect of other stations, mainly there is increase in variable cost and reasons for the same are as under:

| No | Station | Approved Variable cost (Rs/Unit) | Actual Variable cost (Rs/Unit) | Reason |
| --- | --- | --- | --- | --- |
| 1 | CLP India | 3.20 | 5.34 | Due to increase in Gas price as compared to FY 2015-16 |
| 2 | GSEG | 2.59 | 7.49 |  |
| 3 | GSEG Exp | 4.29 | 6.41 |  |
| 4 | GMDC | 0.93 | 1.12 | Due to non-availability of lignite from Panadhro mine, lignite is to be transported from far end mine at Mata-No-Madh |
| 5 | Adani Power | 1.59 | 3.05 | Due to implementation of Suppl. PPA w.e.f 15.10.2018 as approved by CERC |
| 6 | ACB | 0.66 | 0.81 | Due to change in law |
| 7 | CGPL | 1.60 | 1.83 |  |

  - MGVCL should also list unapproved sources, if any, from whom power was procured during FY 2018-19.

Compliance: -

Due to non-availability of power from certain approved stations and to economise cost of power, power purchase was undertaken from short term sources when market condition was favourable to DISCOMs. The power purchase arrangement from GMR - Chhattisgarh under coal tolling was separately approved by Hon’ble Commission. The details are as under:

| No | Source | MUs |
| --- | --- | --- |
| 1 | NTPC Solapur(Un-requisite 100 MW quantum allocated by MoP for 3 months) | 50 |
| 2 | Power Exchanges | 6407 |
| 3 | Other short-term sources including GMR(Coal Tolling arrangement) | 4245 |

  - Reconciliation of power purchase cost with Form 2 of the Petition formats submitted by MGVCL

  - Show the DISCOM-wise power purchase considered from various sources, as Form 2 submitted by MGVCL summarises the combined power purchase of all 4 State DISCOMs

Compliance to ‘d’ & ‘e’ above: -

The Hon’ble Commission has approved Bulk Supply Tariff (BST) Mechanism for allocation of power purchase cost incurred by GUVNL to DISCOMs. Accordingly, power purchase cost for FY 2018-19 is allocated to DISCOMs on bulk supply basis.

The information provided in Form – 2 of Petition is aggregate power purchased by GUVNL on behalf of four DISCOMs. Reconciliation of Power Purchase cost mentioned in Form 2 with the Discom’s Power Purchase Cost is as follows:

| Particulars | DGVCL | MGVCL | PGVCL | UGVCL | Total for DISCOMS |  | Sale to GACL from Adani | Amt. not passed on to DISCOMs | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Under BST mechanism |  |  |  |  |  |  |  |  |
| Power Purchased through GUVNL | 12001.68 | 5340.20 | 15417.99 | 11218.15 |  | 43978 | 106 | 679 | 44763 |
| Less: Sale of surplus power through GUVNL | 0 | 0 | 1.15 | 139.65 |  |  | - | - | - |
| Add: UI payable | 102.49 | 0 | 0 | 0 |  |  | - | - | - |
| Less: UI receivable | 0 | 7.50 | 60.45 | 0.76 |  |  | - | - | - |
| Add: Local Purchase by DISCOMs (Solar & Wind) | 22.68 | 17.44 | 48.43 | 35.14 |  |  | - | - | - |
| SLDC Charges | 1.23 | 0.52 | 1.37 | 0.99 |  |  |  |  |  |
| Total | 12128.09 | 5350.66 | 15406.20 | 11113.87 |  |  | - | - | - |

- MGVCL should reconcile the power purchase expenses of Rs. 5350.66 crore claimed in the Petition with the amount of Rs. 5358.16 crore as per the Audited Accounts.

Compliance: -

Power purchase expense of Rs. 5350.66 Crore claimed in Petition is the Net Expense (i.e. (Power Purchase Cost)- (Revenue from UI Charges)). Following is the reconciliation from the same:

| S no. | Particular | Amount in Rs. Crore |
| --- | --- | --- |
| 1 | Power Purchase Cost as Per Note 31 | 5,358.16 |
| 2 | Less: Net Income from UI Charges* | 7.50 |
| 3 | Net Power Purchase Expense | 5,350.66 |

*Accounted under ‘Unscheduled Interchange/DSM Income’- Note 29

- MGVCL should submit the status of RPO compliance for FY 2018-19, and cumulative shortfall/surplus till FY 2018-19, if any, separately for Solar and Non-Solar RPO.

Compliance: -

For FY 2018-19, the RPO stipulated by Hon’ble Commission was 12.70% against which the actual target achieved is 12.04%. Thus, there is shortfall of 0.66% in RPO target achievement during FY 2018-19 due to various uncontrollable factors, for which GUVNL has filed petition before Hon’ble Commission which is pending. The details of RPO compliance is as under:

| RPO | Wind | Solar | Others | Total |
| --- | --- | --- | --- | --- |
| Stipulated RPO for FY 2018-19 | 7.95% | 4.25% | 0.50% | 12.70% |
| Achieved for FY 2018-19 | 9.02% | 2.77% | 0.25% | 12.04% |
| Shortfall (-) / Excess (+) | - 0.66% |  |  |  |

- As regards the capital expenditure incurred and capitalisation during FY 2018-19, MGVCL should submit the detailed reasons and justification for increase/(decrease) in cost of all schemes (against which capital expenditure is greater than Rs 10 crore) compared to approved scheme cost, with break-up into:

  - Variation due to delay in execution of the project compared to approved timelines, and justification for the same.

  - Variation due to change in scope of work, and justification for the same.

  - Variation due to increase in price

Compliance: -

  - Variation due to delay/early in execution of the project compared to approved timelines, and justification for the same.

IPDS and DDUGJY schemes

MGVCL has completed physical works in March-19 i.e. before target date which was earlier planned to be completed in FY2019-20 as per MOP scheduled timeline. Hence, actual expenditure is more than the approved projection.

  - Variation due to change in scope of work, and justification for the same.

TASP, SPA & DZ Scheme

The approved data were anticipated with respect to incoming flow of new demand for Ag connections under the respective scheme. The anticipation was made based on average monthly receipt of Ag application. Whereas the actual receipt of application for Ag connection was less compared to anticipated figure and these being Govt funded schemes, actual quantum i.e. Nos. of Ag connections were covered as per financial target given by GOG for respective Years. Moreover, due to intensive electrification in rural segment over the period of years have resulted into widespread network of HT/LT lines and T/Cs.This has resulted in fall in average expenditure of Ag connections which have further resulted in less capital expenditure incurred compared to earlier planning.

Justifications for variations in capital expenditure are already shared with the Hon’ble Commission in the Petition.

- The Commission in MYT Order dated 31 March 2017 had approved Scheme-wise capital expenditure and capitalization for FY 2018-19. As against this approval, MGVCL should submit the following details:

  - Actual scheme-wise Capital expenditure incurred during FY 2016-17 to FY 2018-19 vis-à-vis capital expenditure approved

  - Actual scheme-wise Capitalisation for FY 2016-17 to FY 2018-19 vis-à-vis capitalisation approved

Compliance to ‘a’ & ’b’ above: -The details/working sheet working sheet is attached herewith as Annexure- E.

  - Actual scheme-wise funding of capitalised works with break-up of Grants, Loans, Consumer Contribution, Equity, etc.

Compliance: - MGVCL has submitted the breakup of Grants, Loan, Consumer Contribution, Equity in Annexure- E.

  - Cost-benefit analysis for capitalised works

MGVCL, like other Discoms, has universal service obligation to serve its consumers. MGVCL must undertake capex to serve its obligation. Moreover, most of the capex schemes of MGVCL is carried out under various government approved schemes like IPDS, DDUGJY, R-APDRP, etc. which have clear objectives and receive financial assistance. Benefit of such schemes is increased revenue due to addition of new consumers and serving of universal service obligation of the Discom.

- MGVCL should give head-wise reasons for significant increase in employee cost as compared to that approved, apart from the arrears of Rs. 64.51 Crore paid during FY 2018-19.

Compliance: -

The increase in employee cost is on account of revised basis as per the recommendation of 7th pay commission, Annual incremental at 3% on the revised basic pay and increase in dearness allowance (5% to 7%) twice every year which is paid on basic salary. Similar there is rise in retirement benefit expenses also on account of implementation of 7th commission.

- MGVCL should reconcile the amount reflecting in annual accounts for employee expenses (Rs. 484.03 Crore), which includes the provision of Rs. 66.89 crore, as against the amount claimed in Truing-up Petition (Rs. 481.30 Crore).

Compliance: -

Reconciliation of Rs. 481.30 Crore of Employee Expense claimed in petition is as follows:

| S no. | Particulars | Amount (Rs Crore) |
| --- | --- | --- |
| 1 | Employees Benefit Expense (Note 32) | 484.03 |
| 2 | Less: Provision for 7th Pay Commission | 35.59 |
| 3 | Add: Re-measurement of the define benefit Plans | 32.85 |
| 4 | Employee Expense Claimed | 481.30 |

As submitted in the petition, provision made towards impact of 7th Pay Commission of Rs. 35.59 Crore is deducted from employee expenses, because actual payment is not done. Further, MGVCL has added Re-measurement of the defined benefit plans of Rs. 32.85 Crore from Profit & Loss account for FY 2018-19 in Employee Expenses.

- MGVCL should provide the heads under which the actual amount of arrears paid during the year (Rs. 64.51 Crore) is accounted for in the audited accounts of FY 2018-19.

Compliance: -As per the recommendation of 7th pay Commission, the provision account head ‘Provision for liability for expenses’ is credited by debiting salary account. Accordingly, the arrears paid during the year 2018-19 is from account head ‘Provision for liability for expenses’.

- MGVCL should submit the break-up of ‘Other Administration & General Expenses’ of Rs. 4.52 crore considered under A&G expenses in the Accounts.

Compliance: - The break-up of ’Other Administration & General Expenses’ of Rs.4.52 Cr are as under:

The Break-up of 'Other Admin & General Expenses (FY 2018-19)

| Sr. No. | Particulars | Amount |
| --- | --- | --- |
| 1 | Penalties on statutory levies | 13,019.00 |
| 2 | Other fees & subscriptions | 1,28,931.00 |
| 3 | Books and periodicals | 1,62,838.00 |
| 4 | Maintenance to tree plantation | 15,050.00 |
| 5 | Entertainment | 74,359.00 |
| 6 | Guest house expenses | 30,05,739.00 |
| 7 | Upkeep of office/board's premises. | 1,31,01,782.15 |
| 8 | Expenditure incurred on consumer billing & collection | 91,80,539.24 |
| 9 | Gardening & horticultural expenses | 36,73,433.59 |
| 10 | Conference/meeting expenses | 8,66,308.12 |
| 11 | Bill collection charges paid to employees for collection of cons bills | 30,202.00 |
| 12 | Vehicle exp. for motor car | 10,14,742.26 |
| 13 | Adv. for central revenue sports board | 25,46,625.00 |
| 14 | Expense for gift to employees | 67,047.00 |
| 15 | Expenses for lok Adalat | 1,11,724.00 |
| 16 | Celebration of festival | 8,81,961.50 |
| 17 | Expenditure on exhibition | 6,188.00 |
| 18 | Incidental stores expenses | 97,83,357.31 |
| 19 | Revenue stamps on receipts issued by board | 5,79,000.00 |
| Grand Total |  | 4,52,42,846.17 |
| Around Rs. |  | 4.52 Cr |

- MGVCL should submit the break-up of ‘Miscellaneous Expenses’ of Rs. 6.38 crore, considered under A&G expenses in the Petition.

Compliance: -The break-up of ‘Miscellaneous Expenses’ of Rs.6.38 Cr are as under:

Break-up of Other Misc. Expenses for FY 2018-19

| Sr No. | Particulars | Amount |
| --- | --- | --- |
| 1 | Purchase of Material(Inter-Company Sale) | 2,62,53,603.49 |
| 2 | Annual inspection& installation check fee-ch.e.i.-gngr | 78,30,857.00 |
| 3 | Insurance on SKY Scheme | 1,12,878.00 |
| 4 | Expense for vibrant Gujarat | 6,338.00 |
| 5 | Miscellaneous expenses | 2,86,56,711.16 |
| 6 | Fabrication charges | 2,21,191.57 |
| 7 | Miscellaneous Expenses under SKY scheme | 6,83,203.00 |
| Grand Total |  | 6,37,64,782.22 |
| Say Rs. |  | 6.38 Cr |

- MGVCL should reconcile the amount reflecting in annual accounts for A&G expenses as against the amount claimed in Truing-up Petition (Rs. 79.28 Crore).

Compliance: -

Reconciliation of Rs. 79.28 crore claimed against A&G Expense is as follows;

| Particular | Amount (Rs Crore) |
| --- | --- |
| A&G expenses as per Audited Account | 80.33 |
| Less: Waiver of Delay Payment Charges | 2.27 |
| Add: Miscellaneous Losses & Write-offs | 1.22 |
| A&G Expense Claimed in Petition | 79.28 |

As shown in above table the Petitioner has not claimed expenses of Rs. 2.27 Crore against Waiver of Delay Payment Charges out of Rs. 80.33 Crore accounted under A&G Expense. Additionally, the MGVCL has considered Rs. 1.22 Crore of ‘Miscellaneous Losses & Write-offs’in A&G Expenses.

- As regards ‘Other expense capitalized’, MGVCL should explain the significant reduction in the amount though the actual capitalisation is not correspondingly lower as compared to approved capitalisation for FY 2018-19.

Compliance: -

At the time of approval ofOther expense capitalized in MYT Order, the Rate of Capitalization i.e. ‘Head office Supervision Charges’ (HOSC) was considered as 25%. From the FY 2016-17, MGVCL has changed the Rate of Capitalization (HOSC) from 25% to 15%. Hence there is reduction in the ‘Other expense capitalized’ as compared to approved amount in MYT order.

- MGVCL should reconcile the opening GFA as specified in Note 2 of the audited accounts (Rs. 3938.59 Crore) as compared to the opening GFA claimed in Table 23 of the Tariff Petition (Rs. 5016.71 Crore As per MTR Order).

Compliance: -

Regarding the opening GFA as specified in Note 2 of the audited accounts (Rs. 3938.59 Crore). This variation is on accounts of adjustment as per the requirement of IndAS adopted from FY 2015-16.In this process the Company opted to continue with the carrying value of its Property Plant & Equipment (PPE) recognised as of 1st April, 2015 (transition date) measured as per the Previous of GAAP and used that carrying value as its deemed cost as on the transition date as per Para D7AA of Ind AS 101 ‘First –time Adoption of Indian Accounting Standards’.

Reconciliation of same is provided in Annexure – F.

Moreover, in accordance withthe method adopted by the Commission in MTR Order, MGVCL has considered Rs. 5016.71 Core opening GFA for FY 2018-19 same as closing GFA approved in True of FY 2017-18. Change in accounting standard is not made to impact GFA approved by the Hon’ble Commission.

- Regarding the computation of depreciation, MGVCL should:

a.       Clarify whether the deprecation on assets which already depreciated up to 90% of GFA has been considered.

Compliance: -

As per the MYT Regulation 2016 and, depreciation is charged up to 90% of GFA.

b.      Confirm whether depreciation has been claimed on assets funded by grants and consumer contribution.

Compliance: -

The depreciation is also charged as per the rates specified in MYT regulation 2016 (5.28%) on the assets created from Grants, Subsidies and consumer contribution. Similarly, the deferred revenue is also booked on these assets at the rate of 5.28% to match the depreciation expense. The treatment of deferred revenue and depreciation is clearly mentioned in the policy of the company.

c.       Justify the higher depreciation rates considered for Office Equipment (average depreciation rate of 12.54% as against specified rate of 6.33%), as compared to the depreciation rates specified in the GERC MYT Regulations, as seen from Form 5

Compliance: -

The Rate of Depreciation applicable on the assets is as per the GERC MYT Regulation, 2016 and same is mentioned in Note 1 of the Audited Account. Accordingly, MGVCL has claimed the depreciation as computed in the audited account.

- As regards the interest on loans, MGVCL should

  - Provide detailed computation of weighted average interest rate on actual loan portfolio for FY 2018-19 along with the supporting documents substantiating the loan amounts and the interest rate paid on the respective loans.

Compliance: -The statement of detailed computation of weighted Average interest rate is appended herewith as Annexure-G

  - Explain how the actual interest rate has been reduced to 6.13% as compared to the approved rate of 9.46%. Accounts

Compliance: -Due to higher interest rate loan repayment/pre-payment during FY 2016-17 and 17-18 is resulted into reduction in actual interest rate.

- MGVCL should submit the details of consumer security deposit for FY 2018-19 in the following format:

| Sr. No. | Particulars | FY 2018-19 |
| --- | --- | --- |
| 1 | Opening Balance | 78673.47 |
| 2 | Addition during the year | 10967.70 |
| 3 | Closing balance | 89641.17 |
| 4 | Actual Interest Paid/adjusted on CSD | 4796.82 |

- MGVCL should reconcile the Other Income as reflecting in Audited Accounts (Rs. 145.44 Crore) against the amount claimed in Truing-up Petition (Rs. 83.62 Crore) under the head Other Income (Consumer related) in Table 36.

Compliance: -

Other Income Consumer related claimed in the petition is accounted under ‘Other Operating Income’ in Note 29. Claimed Other Income Consumer Related is as Follows:

| Particular | Amount (Rs Crore) |
| --- | --- |
| Recoveries for theft of Power/ Malpractices | 25.90 |
| Cross subsidy Surcharge | 7.29 |
| Addl. Surcharge – OA Charges | 1.13 |
| Wheeling Charges | 0.22 |
| Miscellaneous Charges form Consumer | 49.09 |
| Total Other Income Consumer Related | 83.62 |

MGVCL has not considered delayed payment charges of Rs. 29.21 Crore collected from consumers as Other Income, because servicing of loans and funding of working capital depends upon steady cash flow from revenue from sale of electricity. Any delay in collection of revenue results in financial implications for the Discom due to adverse effect on timely payment of financial obligations and funding of working capital.

Agricultural subsidy accounted under ‘Other operating revenue’ isconsidered as revenue of the Petitioner separately in Table 37 of the Petition.

- MGVCL should reconcile the revenue of Rs. 6,109.50 Crore shown in Table 37 for FY 2018-19 against the amount of Rs. 6,146.21 Crore reflecting in audited accounts.

Compliance: -

Reconciliation of Revenue of Rs 6,109.50 Core as Claimed in the petition is as follows:

| Particular | Amount (in Rs Crore) |
| --- | --- |
| Revenue fromoperation (Note 29) | 6,146.21 |
| Less: Delayed Payment Charges from Consumer | 29.21 |
| Less: Unscheduled Interchange/DSM Income | 7.50 |
| Revenue Claimed in Table 37 | 6109.50 |

Reason for not Considering Delay Payment Charges from Consumer as Revenue is explained in above query. Unscheduled Interchange/DSM Income is net off from the power purchase cost. Therefore, it’s not considered as revenue in petition.

- Regarding Income Tax, MGVCL should submit the following: Accounts

  - Copies of Challans and ITR6

Compliance: - copy of paid Challan are Attached as Annexure –H.

  - Confirm whether any refund of income tax has been received in FY 2018-19

Compliance: - No Income Tax refund has been received during the financial year 2018-19

  - Computation of Income Tax payable amount of Rs. 4.44 Crore for FY 2018-19

Compliance: - Computation of Income Tax payable of Rs.4.44 Cr is appended herewith as Annexure-I.

- Furnish the head-wise details of claim of subsidy to Government of Gujarat and actual subsidy received in FY 2018-19.

Compliance: -

The details of head wise Subsidy claim and received from Government during FY 2018-19 is as under:

| Sr. No. | Description of Subsidy | Claim Amount (Rs. In Crore) | Received Amount (Rs. In Crore) |
| --- | --- | --- | --- |
| 1 | FPPPA Subsidy | 214.64 | 214.64 |
| 2 | GERC Tariff compensation | 102.79 | 102.79 |
| 3 | H. P. Based Subsidy | 73.87 | 73.87 |
|  | Total | 391.31 | 391.31 |

- Furnish details of the loan, if any, converted into grant during FY 2018-19. Also furnish impact of such conversion on various elements of ARR.

Compliance: - Noloan wasconverted into Grant during the FY 2018-19

- Furnish the certificate from CAG on Annual Accounts of the Company for FY 2018-19.

Compliance: -copy of Certificate from C& AG on Annual Accounts of the Company is appended herewith as Annexure-J

- Tariff for FY 2020-21

- MGVCL has stated in para 4.8.1 that ‘part of estimated revenue gap will be mitigated through efficiency measures.’ MGVCL should list out the efficiency measures proposed to be undertaken and detailed procedure on how the gap will be mitigated through these measures.

Compliance: -

As mentioned in the petition, it is envisaged that part of estimated revenue gap will be mitigated through efficiency measures such as:

- reduction in distribution losses,

- reduction in technical losses due to network strengthening / modernisation of distribution network,

- Economisation in power purchase cost etc.

- Compliance to Directives

- MGVCL should submit the timeline for submission of Cost to Serve Report.

Cost of Service Report will be submitted to Hon’ble Commission in due course.

- MGVCL should submit the actual number of defective meters in FY 2017-18, FY 2018-19, and FY 2019-20 (till September 2019), as per the following format:

- MGVCL to give timeline for submission of report on Pilot Project on Scheme for Installation of solar pump for agriculture consumers.

Compliance: -

Data of feeders commissioned by MGVCL as on 23 December 2019 is as under: -

| No. of Feeders | No. of SKY Consumers | Total SPV Capacity in MW-DC | Total SPV Capacity in MW-AC |
| --- | --- | --- | --- |
| 14 | 594 | 10.343 | 9.433 |

Since the agriculture consumption varies with the season and also in solar generation there is as big seasonal impact on agricultural consumption hence one cycle covering all seasons is essential for proper study of the scheme outcome.

MGVCL has requested to the Secretary, GERC Vide letter reference MGVCL/DSM/483 Dt 3.6.2019 to approve the time limit up to 30.9.2019, but due to prolonged monsoon period during this year it is requested to extent the time limit, so that the calculation covering all seasons can be submitted.