## 2-FB
Feeder Bay
Sr. No. | Name of Circle | Name of S/S | Voltage Class | Feeder Bay | Date of Inspection | Date of CEI Certificate | Total No. of Bays | First Date of Power Flow | Maximum Load (Date & Time)-MW | Minimum Load (Date & Time)- MW | Approved Cost
No. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
1 | Nadiad | 66Kv Rozva | 66 | 66kv Rozva-J K Cement line | 2020-02-10 | 2020-10-02 | 1 | 13-2-2020 | 3.5 MW 6.11.2020/20.00 | 0.1 MW 1.4.2020/17.00 | 0.04
1

## Aug
Augmantation
Sr. No. | Name of Circle | Name of S/S | Votage Class | Augmanted Bay | Date of Inspection | Date of CEI Certificate | Total No. of Bays | First Date of Power Flow | Maximum Load (Date & Time)-MW | Minimum Load (Date & Time)- MW | Approved Cost
No. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
1 | Surendranagar | 66KV Wadhwan ss | 66KV/11 | 66/11Kv 10MVA Tr | 14.02.2020 | 05.03.2020 | 1 | 09.03.2020 | 4.56MW 24/7/20 15:00 HRS | 3.1MW 25/1/21 17:00 HRS
2 | Amreli | 66kV Bunder (Bandar Rd) | 66/11 | 66/11kv 15MVA | 2018-11-27 | 2019-04-24 | 1 | 2019-04-24 | 7.6 MVA 29/5/2020 15:00 HRS
3 | Nadiad | 220kv Ranasan | 132/66 | 132/66kv TR. | 16.03.2020 | 16.03.2020 | 2 | 31-03-2021 | 45MVA 07/10/2021 18:00 | 12MVA 20/10/2021 10:00 | Dissallowed
4

## 4-Lines
Transmisison Line
Sr. No. | Name of Circle | Voltage Class | Name of Line | S/C to D/C | Line Length CKt KM | Date of Inspection | Date of CEI Certificate | First Date of Power Flow | Maximum Load (Date & Time)-MW | Minimum Load (Date & Time)- MW | Approved Cost (in Rs Lacs) | Load taken in year 2020-21 Yes/No
No. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
1 | Nadiad | 66 | 66kv Rozva-J K Cement line | S/C | 5.78 | 2020-02-10 | 2020-02-10 | 2020-02-13 | 3.5 MW 6.11.2020/20.00 | 0.1 MW 1.4.2020/17.00
|  |  | Total |  | 5.78

## Summary
Bay addition during respective FY 2020-21 |  | Nos. of Feder Bay
1 | Substation | #REF!
2 | Feeder Bay | 1
3 | Augmentation | 4
Total |  | #REF!
Ckt Km of Tr. Line addition during FY 2020-21 |  | Ckt
Total |  | 5.78